Scope and Application

This procedure applies to all operations involving confined space entry, and is intended to protect employees from the hazards of entry into confined spaces. A confined space is:

- Large enough for personnel entry

- Has limited or restricted means for entry or exit

- Is not designed for continuous occupancy.

Examples are pits, vaults, tanks, sewers systems, and hoppers.

A non-permit space is a confined space that does not present any potential hazards, nor will the work performed therein create a hazardous condition.

A permit-required space is a confined space that may present one or more potential hazards including hazardous atmospheres, fire/explosion, engulfment, entrapment, electrical, mechanical, or any other serious hazard. It is advised that the Permit approach be used for all confined space work as a means to evaluate and properly control hazards present.

Permit-required confined space hazards include risks of falls, crushing, asphyxiation, fire, explosion, chemical exposure, engulfment, drowning, electrocution, or dismemberment.

This procedure applies to all permit-required confined space entry activities performed by employees or any contractor and/or subcontractor.

# Entry occurs whenever any body part crosses the plane of entry of the space when the intent is to enter.

Implementation

Implementation of this program is the responsibility of the Enter Position.

Procedure

1.0	The Entry Supervisor for the Operation is Enter Position.

A.	This person is responsible for:

1.	Determining hazards and potential exposures of the confined space and created by work to be done in the space.

2.	Onsite verification of acceptable entry conditions prior to entry.

3.	Assigning appropriately trained and medically qualified personnel to the project.

4.	Having knowledge of required confined space entry procedures and equipment.

5.	Has the ability to recognize and test hazardous atmospheres.

6.	Training on and performing a thorough hazard assessment (see Appendix A) of the space and of the work that will be performed therein.

7.	Understanding and explaining how to execute a Confined Space Permit as well as any other required permits, such as a Hot Work permit, Fall Protection, Trenching and Shoring Requirements.

8.	Evaluating work in process, stopping work as needed and taking corrective actions when conditions change.

9.	Completing all initial and annual refresher trainings and practicing all learned as a confined space Entry Supervisor.

10.	Permit system

a)	Utilize the Confined Space Entry Control Worksheet, and Permit forms (Appendices A & B) for permit space entry evaluation and establishment of required controls.

b)	Require Confined Space Entry Permits to be issued at least each shift by the Entry Supervisor.

11.	Posting

a)	"Danger- Confined Space; Enter by Permit Only" signs are to be posted at the entry point of all confined spaces.

2.0	Confined Space Entry Planning

A.	The entry supervisor:

1.	Contacts facility representatives to gather information about the confined space, work to be done, materials to be used in the confined space.

2.	Utilizes the Confined Space Entry Control Worksheet, and Permit forms (Appendices A & B) for permit space entry evaluation and establishment of required controls.

3.	Assesses whether those hazards that create the "permit required confined space" can be eliminated without employee entry into the space, and respective controls to eliminate or properly control these hazards.

4.	Identifies any potential immediately dangerous to life or health atmospheric hazards and requirements to control exposure to workers.

5.	Determines rescue requirements for the space - if so designated as a "permit required confined space" and assures response, training and equipment is effective.

6.	Arranges for qualified and adequate numbers of Entrants and Attendants.

7.	Obtains and assures the Confined Space Entry and Hot Work (if applicable) permits are fully and accurately completed.

8.	Identifies all equipment, including personal protective equipment, needed for the job is ready and onsite.

9.	Coordinates confined space entry activities with other site employers that may be affected by the entry and that all work is compliant with the permit, and that the procedures of the contractors at a minimum, complies with this written program.

B.	Preparation of confined space

1.	Isolation of the space

a)	Drain, clean and purge the confined space as appropriate.

b)	Isolate all forms of kinetic and potential (stored) energy inside the confined space, including:

        - Electrical

        - Hydraulic

        - Mechanical

        - Thermal

        - Pneumatic

        - Hydraulic

c)	Isolate all lines carrying fuels, liquids or gases into the space. Purge and assure clean and free of residual material.

d)	Develop alternate controls and affirm their function for protection of entrants for lines that may not be controlled such as lines through stormwater or sewer vaults.

- Blank lines as needed.

- Implement any needed alternate practices to assure worker protection.

e)	Provide barricades and post the entrance of the space with a sign stating "Danger Confined Space Do Not Enter" or equivalent wording.

- Address traffic control needs as well with an approved Traffic Safety Control Plan.

f)	Prohibit entry of compressed gas cylinders in a confided space.

g)	Assure that a rescue plan is in place and functional, with adequate response time before executing the permit or allowing entry.

2.	Personal Protective Equipment (PPE) and other required equipment

a)	Using the Confined Space Entry Control Worksheet and your Job Hazard Assessment tool, establish all needed personal protective equipment (PPE), and other equipment needed (e.g., ventilation, GFCIs, monitoring instruments, retraction and fall gear, egress and access gear, etc.)

b)	Assure all equipment is in ready to use state and current on inspections.

c)	Assure all staff are fully trained and competent in the use.

d)	Specific on the Permit all required equipment and review in pre-entry meeting.

3.	Electrical equipment

a)	Provide electrical equipment that meets the electrical classification of the area.

b)	Assure all electrical equipment is grounded, gear is inspected and safe for use.

c)	Use ground fault circuit interruption (GFCI) for power sources.

4.	Atmospheric tests

a)	It is our policy that entry will be permitted only if atmospheres are proven to be safe for entry with adequate oxygen, contaminant levels below adopted exposure limits, and less than 10% Lower Flammable Limit (LFL) maintained.

b)	Atmospheres are considered Immediately Dangerous to Life and Health (IDLH) until proven otherwise.

- IDLH is defined by the US National Institute for Occupational Safety and Health (NIOSH) as exposure to airborne contaminants that is "likely to cause death or immediate or delayed permanent adverse health effects or prevent escape from such an environment."

- Examples include smoke or other toxic contaminant concentrations at sufficiently high concentrations.

- OSHA regulations define the term as "an atmosphere that poses an immediate threat to life, would cause irreversible adverse health effects, or would impair an individual's ability to escape from a dangerous atmosphere."

c)	Atmospheres must have adequate oxygen.

- Ambient air at sea level has about 20.9% oxygen. Greater than 19.5% is required for entry but NOTE that if there is less than 20.9% oxygen, there is another gas or vapor present that needs to be identified and quantified; or the meter is not calibrated or working correctly.

d)	Atmospheres must also be safe from a flammability standpoint with the Lower Flammable Limit (LFL) being less than 10% required.

- Once again, if there is any amount of a flammable present, it can affect the oxygen or toxics levels and must be completely evaluated.

e)	Atmospheres must also be safe from a “Toxic” standpoint with atmospheres containing less than applicable OSHA and ACGIH established exposure limits.

f)	Calibrate (zero and span gasses) monitoring equipment and record information on the Daily Instrument Calibration Form.

- Record all results on the permit, sign and initial where indicated.

g)	Make initial atmospheric tests of the space. Assess all sections of the space and consider vapor density of materials that could have been present.

h)	Attach extension probes to the monitoring equipment, or lengths of inert tubing material to reach all section and to the bottom of the space.

- For horizontal spaces, the probe may need to be attached to a pole.

i)	Take atmospheric measurements in all needed locations, sections, sub-spaces of the space.

- Allow needed time for remote samples to reach the instrument to assure accuracy of data.

j)	Obtain a reading for oxygen first, followed by %LFL, then for toxic contaminants of concern (as applicable).

- The assessment of toxics is based on the materials stored or used in the space, and any materials expected to be used or present in the environment.

k)	Record all results on the permit, sign and initial where indicated.

l)	Determine if acceptable entry conditions exist with respect to oxygen, %LFL, and other hazardous atmospheres.

- Evaluate the hazards of any materials to be used in or atmospheres that could be created during the work in the space!

- Determine the monitoring and ventilation approaches needed to control all atmospheric issues.

m)	If entry conditions are not in accordance with the atmospheric requirement or permit requirements indicated, correct the condition(s) and retest before proceeding.

n)	If acceptable entry conditions exist, determine the means for continuous monitoring and communication and documentation of readings.

o)	Monitor continuously for oxygen, %LFL and applicable toxics if hot work will be performed in the space.

5.	Ventilation

a)	Ventilation is required for all entries.

b)	Open as many openings as possible in the space to aid in cross ventilation.

- Evaluate and address poorly configured areas, sub-spaces, and the vapor densities of materials to assure adequate ventilation of all areas.

c)	Never ventilate confined spaces with oxygen.

d)	Provide five (5) air changes per hour, or at least 10,000 cfm for large spaces minimum.

- Provide at least 2,000 cfm of active exhaust ventilation for each welder or torch operating under a Hot Work Permit within the space.

e)	If any motorized equipment is used, be sure that the exhaust does not enter the space and never have this gear operating in a space.

- Carbon monoxide monitoring may be required as a toxic as well as oxygen content.

f)	Place ventilation gear and ducting such that it does not create a hazard by impairing the access/ egress or vision and communication with attendants and entry staff.

- Exhaust to safe areas and do not direct contaminants to other workers.

g)	Use fire/explosive proof (appropriate electrical equipment for Hazardous Areas Classifications) equipment, including ventilating equipment that is properly grounded when exhausting flammable or combustible gases, vapors and dusts from confined spaces.

6.	Authorizing the permit

a)	Prior to signing the permit, the entry supervisor is to personally inspect the space, and surrounding area, and work to be done in the space, and review all monitoring, ventilation and other gear and materials to be used; and confirm that all necessary precautions have been taken and all relevant information concerning the entry parameters are documented on the permit.

b)	The entry supervisor is to conduct a safety briefing informing all entrants and attendants of space conditions; review work to be done in the space; time of permit and communication and rescue procedures.

c)	The entry supervisor is to require the entrant(s) and attendant(s) to each print their names and sign the permit; and outline the rescue procedures.

d)	The permit is to be reviewed and affixed to a location near the space entrance.

7.	Entry operations

a)	Prohibit entry when oxygen deficient, greater than 10% lower flammable limit atmospheres, toxic (above established exposure limits without proper respiratory equipment), or IDLH levels are present in the space.

- Re- clean, purge, and ventilate spaces as needed and re-test to assure they are safe for entry.

b)	Assure a safe access and egress is established.

c)	Limit entry to qualified entrants listed on the permit and only for the purpose(s) stated on the permit.

d)	Require entrants to follow all PPE, equipment and procedural requirements listed on permit.

e)	Attach body harness, if required, to a lifeline, and the other end of the life line is attached to an approved anchor point and mechanical lifting device outside the space at all times the entrant(s) are in the space.

f)	Attendant(s) are required to remain at the entrance whenever an entrant is inside the confined space.

- The attendant may not be assigned other duties that may distract him/her from maintaining uninterrupted contact and communication with the entrant(s).

- The attendant may only attend to one confined space entry at any one time.

- Each space must have its own attendant.

C.	Exiting the confined space

1.	Assure a safe access and egress is established.

2.	Entry staff are to immediately evacuate and the attendant is to order entrant(s) to immediately evacuate the space whenever:

a)	Atmospheric conditions change.

b)	A new or prohibited condition on the entry permit develops.

c)	The surrounding work area becomes unsafe.

d)	Any monitoring instrumentation, rescue equipment, ventilation, etc. becomes compromised.

e)	Possible symptoms of exposure are noted in the entrant(s).

f)	Entrant(s) express any type of concern regarding any safety or health aspect of the entry or work being done.

D.	Rescue requirements

1.	Assure that a rescue plan is in place and functional, with adequate response time before executing the permit or allowing entry.

2.	Non-entry rescue procedures shall be established for every entry.

3.	Fully trained, equipped, and qualified entry rescue staff are to be established prior to entry, and be available for the duration of the entry.

4.	Assure communication is established and maintained between the attendants and Rescue staff at all times.

E.	Completion of entry work

1.	Inspect and assure all items are cleaned, and equipment is back in a ready to use state.

2.	Cancel the permit by obtaining the signature of the entry supervisor and recording the time and date on the permit.

3.	The entry supervisor is to inspect the area and assure all is safe and ready to be put back into operation.

4.	The space can then be put back in operation, openings closed, signs and barricades removed, etc.

a)	Reference the permit to assure all have been addressed in re-activating a space.

b)	If the space cannot be closed until a later time, provisions must be maintained (barricades, warning signs) to prevent in all cases any persons from falling into or entering the space.

2.0	Training

A.	All entry supervisors, entrants, attendants, and rescue staff are to be trained prior to any assignments and are to have all needed knowledge of equipment, hazard assessments, permitting requirements, and all health and safety aspects associated with entry.

B.	Training is to be repeated:

1.	Whenever a near miss (a near miss is an unplanned event that did not result in injury, illness, or damage – but had the potential to do so) or incident occurs

2.	At least annually

3.	After results of annual program audits are performed

3.0	Medical Surveillance

A.	All entry supervisors, entrants, attendants, and rescue staff will be medically qualified for confined space entry work including fit testing and medically qualified for wearing respirators assigned.

4.0	Documentation Requirements

A.	The Risk Management Center is to be used to document all information including the following:

1.	The Training Track application is to be used for documenting all training

2.	All incident investigations involving near misses or incidents are to be documented

3.	All staff training including that of the Entry supervisors, Entrants, Attendants, and Rescue staff

4.	All classes, pre-entry worker briefings, tool box briefings, Audit result briefings and incident investigation briefings involving near misses or incidents are to be documented qualifications

5.	Confined Space Entry Permits plus Hot Work Permits (if issued).

6.	Monitoring equipment calibration logs.

7.	Lock-out/Tag-out records (if used).

8.	Medical clearance documentation.

| Documents | Risk Management Center Location |
| --- | --- |
| Written Confined Spaces Entry Program | My ContentTM |
| Training Documentation including: - Classroom training and training course completed - Sign-in sheets - Quizzes - Skills evaluations - Operator Certificates | Training TrackTM application |
| Pre-shift Inspection Checklists | My ContentTM |
| Safety Observations | Job Hazard Analysis/ Safety Observation ToolTM |
| Near misses | Incident TrackTM |
| Accidents and claims | Incident TrackTM |
| Supplier and manufacturer Certificates of Insurance | COI TrackTM |
| Safety Data Sheets | SDS TrackTM |

Appendix A: Confined Space Entry Control Worksheet

This form is used to evaluate hazards and needed controls for developing a permit or Job Hazard Analysis specific to a confined space; check all that apply; specify details on back for developing specific permit for Entry

## Location: Click here to enter text.

## Confined space and work to be done: Click here to enter text.

Site Contact Information and Management: Click here to enter text.

Issues and Controls needing to be addressed for entry:

- Hazards of Work to Be Done Known With Controls Set

- Fall Hazards/ Fall Protection

- Entry/Egress

- Isolation (blanking, bleeding, etc.) and Lock-out

- Supervisor, Rescue, Entry, Standby Trained Persons Established

- Pre-entry Clean and Purge

- Barricading/ Posting

- Harnesses; Retraction Gear

- Stand-by Person in Communication

- Calibrated Pre-entry Monitoring Gear (Oxygen, LFL, Toxics); Trained in Use

- Calibrated Entry Monitoring Gear (Oxygen, LFL, Toxics) ; Trained in Use

- Heat Stress

- Ventilation to all areas

- Spark Proof Tools/  Explosion Proof Electricals

- Communication Gear

- Properly Equipped and Trained Rescue Staff Immediately Available

- GFCI’s/ Ground Assurance in Use on Electricals

- Respiratory Equipment

- Air Supplied

- Escape Capability

- Air Purifying

- Skin Protection

- Eye Protection

- Hearing Protection

- Lighting

- Foot Protection

- Other Personal Protective Equipment Gear

- Other Controls: ___________________

- Other Controls: ___________________

- Other Controls: ___________________

- Other Controls: ___________________

- Other Controls: ___________________

- Ladder/scaffolding

Appendix A: Confined Space Entry Control Worksheet (continued)

| Control | Comment on gear, training, other Notes: |
| --- | --- |
| Hazards of Work to Be Done Known With Controls Set | Click here to enter text. |
| Fall Hazards/ Fall Protection | Click here to enter text. |
| Entry/Egress Isolation (blanking, bleeding, etc.) | Click here to enter text. |
| Isolation and Lock-out Pre-entry Clean and Purge | Click here to enter text. |
| Supervisor, Rescue, Entry, Standby Trained Persons Established | Click here to enter text. |
| Pre-entry Clean and Purge | Click here to enter text. |
| Barricading/ Posting | Click here to enter text. |
| Harnesses; Retraction Gear | Click here to enter text. |
| Stand-by Person in Communication | Click here to enter text. |
| Calibrated Pre-entry Monitoring Gear (Oxygen, LFL, Toxics); Trained in Use | Click here to enter text. |
| Calibrated Entry Monitoring Gear (Oxygen, LFL, Toxics); Trained in Use | Click here to enter text. |
| Heat Stress | Click here to enter text. |
| Ventilation to all areas | Click here to enter text. |
| Spark Proof Tools/ Explosion Proof Electricals | Click here to enter text. |
| Communication Gear | Click here to enter text. |
| Properly Equipped and Trained Rescue Staff Immediately Available | Click here to enter text. |
| GFCI’s/ Ground Assurance in Use on Electricals | Click here to enter text. |
| Respiratory Equipment Air Supplied Escape Capability Air Purifying | Click here to enter text. |
| Personal Protective Equipment Gear: - Skin Protection - Eye Protection - Hearing Protection - Lighting - Foot Protection | Click here to enter text. |
| Ladder/scaffolding | Click here to enter text. |
| Other (Specify): | Click here to enter text. |
|  | Click here to enter text. |
|  | Click here to enter text. |
|  | Click here to enter text. |

Appendix B: Confined Space Permit

DATE: Click here to enter text. 	SITE LOCATION and DESCRIPTION: Click here to enter text.

Time Issued/ Expires: Click here to enter text. (PERMIT VALID FOR 8 HOURS ONLY).  ALL COPIES OF PERMIT WILL REMAIN AT JOB SITE UNTIL JOB IS COMPLETED

PURPOSE OF ENTRY: Click here to enter text.

HAZARDS THAT WORK IN SPACE CAN CREATE: Click here to enter text.

SUPERVISOR(S) in charge of crews/   Type of Crew/     Phone # Click here to enter text.

REQUIREMENTS TO BE COMPLETED, REVIEWED, AND VERIFIED PRIOR TO ENTRY

REQUIREMENTS COMPLETED                  DATE           		TIME		          BY

Lock Out/De-energize/Tag-out      Click here to enter text.   Click here to enter text.  Click here to enter text.

Line(s) Broken-Capped-Blanked    Click here to enter text.    Click here to enter text.  Click here to enter text.

Purge-Flush and Vent                  Click here to enter text.    Click here to enter text.  Click here to enter text.

Ventilation                                  Click here to enter text.   Click here to enter text.   Click here to enter text.

Secure Area (Post and Flag)         Click here to enter text.    Click here to enter text.  Click here to enter text.

Breathing Apparatus                    Click here to enter text.    Click here to enter text.  Click here to enter text.

Resuscitator - Inhalator                Click here to enter text.    Click here to enter text.  Click here to enter text.

Standby Safety Personnel             Click here to enter text.    Click here to enter text.  Click here to enter text.

Standby Safety Trained	            Click here to enter text.    Click here to enter text.  Click here to enter text.

Rescue Safety Personnel              Click here to enter text.    Click here to enter text.  Click here to enter text.

Rescue Safety Trained	            Click here to enter text.    Click here to enter text.  Click here to enter text.

All Involved Current on Training    Click here to enter text.    Click here to enter text.  Click here to enter text.

Rescue Process Effective	            Click here to enter text.    Click here to enter text.  Click here to enter text.

Full Body Harness w/"D" ring        Click here to enter text.    Click here to enter text.  Click here to enter text.

Hoisting & Emergency Escape 
Retrieval Equipment	            Click here to enter text.    Click here to enter text.  Click here to enter text.

Appendix B: Confined Space Permit (continued)

Fire Extinguishers                        Click here to enter text.    Click here to enter text.  Click here to enter text.

Lighting (Explosive Proof)             Click here to enter text.    Click here to enter text.  Click here to enter text.

Protective Clothing                       Click here to enter text.    Click here to enter text.  Click here to enter text.

Respirator(s) Specified	             Click here to enter text.    Click here to enter text.  Click here to enter text.

Hot Work/ Burning and Welding 
Permit       		            Click here to enter text.    Click here to enter text.  Click here to enter text.

Note:  Items that do not apply enter N/A in the blank.

Stand-by personnel:  Click here to enter text.

COMMUNICATION PROCEDURES: Click here to enter text.

RESCUE PROCEDURES (PHONE NUMBERS AT BOTTOM): Click here to enter text.

Rescue Personnel: Click here to enter text.

Appendix C: Atmospheric Checks

| Atmospheric Tests (all areas & levels) | Oxygen %* | Explosive % Lower Flammable Limit (LFL) <10% Required | Toxic ppm/ mg/m3 (less than OSHA & ACGIH Req’d.) | Time | Tester's signature (validating calibration, test results, and ventilation) |
| --- | --- | --- | --- | --- | --- |
| Initial Checks | Result | Result | Result | Result | Result |
| After Isolation And Ventilation | Result | Result | Result | Result | Result |
| Continuous Atmospheric Test | Result | Result | Result | Result | Result |

| Continuous Atmospheric Test | Result | Result | Result | Result | Result |
| --- | --- | --- | --- | --- | --- |
| Continuous Atmospheric Test | Result | Result | Result | Result | Result |
| Continuous Atmospheric Test | Result | Result | Result | Result | Result |
| Continuous Atmospheric Test | Result | Result | Result | Result | Result |
| Continuous Atmospheric Test | Result | Result | Result | Result | Result |
| Continuous Atmospheric Test | Result | Result | Result | Result | Result |
| Continuous Atmospheric Test | Result | Result | Result | Result | Result |
| Continuous Atmospheric Test | Result | Result | Result | Result | Result |

*- ambient air at sea level has about 20.9% oxygen. Greater than (>)19.5% is required for entry but NOTE; if there is less than 20.9% oxygen, there is another gas or vapor present that needs to be identified and quantified

Testing Equipment Used: Click here to enter text.

Calibration Date and Time: Click here to enter text. / Click here to enter text.  By: Click here to enter text.

We have reviewed the work under this permit and the information contained herein. Written instructions and safety procedures have been received and are understood.

Appendix C: Atmospheric Checks (continued)

| Entrants(s): (print) |  |
| --- | --- |
| Click here to enter text. | Click here to enter text. |
| Click here to enter text. | Click here to enter text. |
| Click here to enter text. | Click here to enter text. |
| Click here to enter text. | Click here to enter text. |
| Attendant(s): (print) |  |
| Click here to enter text. | Click here to enter text. |
| Click here to enter text. | Click here to enter text. |

I Certify that the requirement of this confined space entry permit have been met and authorize entry into the confined space to which this permit applies. This permit is not valid unless all appropriate items are completed.

| Authorization | Signature/ Time/ Date |
| --- | --- |
| Stand-by Person: (Print) | Click here to enter text. |
| Entry Supervisor: (print) | Click here to enter text. |
| Relief Entry Supervisor: (print) | Click here to enter text. |

Permit Cancelation Date/ Time/ Reason: Click here to enter text.