HOT WORK PERMIT

BEFORE INITIATING HOT WORK, CAN THIS JOB BE AVOIDED? IS THERE A SAFER WAY?

This Hot Work Permit is required for any operation involving open flames or heat/spark producing tasks.  This includes, but is not limited to:  Brazing, Cutting, Grinding, Soldering, Thawing Pipe, Torch Applied Roofing, and Welding.

INSTRUCTIONS					REQUIRED PRECAUTIONS CHECKLIST

A.  Verify precautions listed at right are taken or 		(  Sprinklers, hose streams, extinguishers are in

do not proceed with the work		                  	       service/operable, and in vicinity

(  Hot Work equipment in good repair... hoses, fittings,

B.  Complete and retain Permit			                       etc.

Requirements within 35 ft (11 m) of work

C.  Issue Permit to person doing job			(  Flammable liquids, dust, lint and oily

deposits removed

(  Explosive atmosphere in area eliminated

HOT WORK BEING DONE BY:                                               	(  Floors swept clean

(  EMPLOYEE                                                                                     (  Combustible floors wet down, covered

(  CONTRACTOR (Name)______________________________             with damp sand or fire-resistive sheets

____________________________________________________    	(  Remove other combustibles (paper, wood

DATE:____________	JOB NO.:__________________________           products, etc.) where possible.  Otherwise

protect with fire-resistive tarpaulins or

LOCATION/BUILDING & FLOOR:________________________             metal shields

____________________________________________________      (  All wall and floor openings covered

NATURE OF JOB: ____________________________________       (  Fire-resistive tarpaulins suspended beneath work

_______________________________________________________________

NAME OF PERSON DOING HOT WORK:                                                                       Work on walls or ceilings

_______________________________________________________________       	(  Construction is noncombustible and without

I verify the above location has been examined, the                               combustible covering or insulation

precautions checked on the Required Precautions                        (  Combustibles on other side of  walls moved

Checklist have been taken to prevent fire, and                                       away

permission is authorized for this work.

Work on enclosed equipment

SIGNED/SITE SAFETY REPRESENTATIVE:                 	(  Enclosed equipment cleaned of all combustibles

____________________________________________________    	(  Containers purged of flammable liquids/vapors

and inerted if needed; Confined Space Permit issued

Fire watch/Hot work area monitoring

PERMIT EXPIRES [DATE/TIME (AM/PM)]:                               	(  Fire watch will be provided during and for

____________________________________________________             60 minutes after work, including any coffee

or lunch breaks

(  Fire watch is supplied with suitable charged

extinguishers

(  Fire watch is trained in use of this equipment and

in sounding alarm

(  Alarm available

(  Fire watch  required for adjoining areas,

above, and below

(  Monitor Hot Work area periodically for 4 hours

after job is completed

Other Precautions To Be Taken                           _________________________________________________________________________________________________________________________________________